## Jan - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-01-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern hall road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1.1 | 4.5 | 3.2667
| Combustable Matter | g/m2 |  | 0.4 | 5.4 | 2.1333
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-01-31 | Ash Content | g/m2 | 4.2
|  | Combustible Matter | g/m2 | 0.6
|  | TOTAL | g/m2 | 4.8
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-01-31 | Ash Content | g/m2 | 1.1
|  | Combustible Matter | g/m2 | 0.4
|  | TOTAL | g/m2 | 1.5
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-01-31 | Ash Content | g/m2 | 4.5
|  | Combustible Matter | g/m2 | 5.4
|  | TOTAL | g/m2 | 9.9

## Feb - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-02-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern hall road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1.6 | 17 | 7.1667
| Combustable Matter | g/m2 |  | 0.7 | 0.9 | 0.83333
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-02-28 | Ash Content | g/m2 | 17
|  | Combustible Matter | g/m2 | 0.9
|  | TOTAL | g/m2 | 17.9
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-02-28 | Ash Content | g/m2 | 1.6
|  | Combustible Matter | g/m2 | 0.9
|  | TOTAL | g/m2 | 2.5
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-02-28 | Ash Content | g/m2 | 2.9
|  | Combustible Matter | g/m2 | 0.7
|  | TOTAL | g/m2 | 3.6

## Mar - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-03-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern hall road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1.5 | 2.5 | 2
| Combustable Matter | g/m2 |  | 1.9 | 2.8 | 2.35
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| Damaged | Ash Content | g/m2
|  | Combustible Matter | g/m2
|  | TOTAL | g/m2 | 0
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
|  | Ash Content | g/m2 | 1.5
|  | Combustible Matter | g/m2 | 1.9
|  | TOTAL | g/m2 | 3.4
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
|  | Ash Content | g/m2 | 2.5
|  | Combustible Matter | g/m2 | 2.8
|  | TOTAL | g/m2 | 5.3

## Apr - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-04-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern hall road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 2.2 | 2.9 | 2.5667
| Combustable Matter | g/m2 |  | 0.7 | 4.5 | 2.2333
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-04-30 | Ash Content | g/m2 | 2.9
|  | Combustible Matter | g/m2 | 0.7
|  | TOTAL | g/m2 | 3.6
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-04-30 | Ash Content | g/m2 | 2.2
|  | Combustible Matter | g/m2 | 1.5
|  | TOTAL | g/m2 | 3.7
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-04-30 | Ash Content | g/m2 | 2.6
|  | Combustible Matter | g/m2 | 4.5
|  | TOTAL | g/m2 | 7.1

## May - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-05-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern hall road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 2.7 | 3.1 | 2.9
| Combustable Matter | g/m2 |  | 0.3 | 0.8 | 0.56667
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-05-31 | Ash Content | g/m2 | 3.1
|  | Combustible Matter | g/m2 | 0.3
|  | TOTAL | g/m2 | 3.4
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-05-31 | Ash Content | g/m2 | 2.9
|  | Combustible Matter | g/m2 | 0.8
|  | TOTAL | g/m2 | 3.7
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-05-31 | Ash Content | g/m2 | 2.7
|  | Combustible Matter | g/m2 | 0.6
|  | TOTAL | g/m2 | 3.3

## Jun - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-06-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1.1 | 2.5 | 1.5667
| Combustable Matter | g/m2 |  | 0.1 | 0.8 | 0.5
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-06-30 | Ash Content | g/m2 | 1.1
|  | Combustible Matter | g/m2 | 0.1
|  | TOTAL | g/m2 | 1.2
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-06-30 | Ash Content | g/m2 | 1.1
|  | Combustible Matter | g/m2 | 0.6
|  | TOTAL | g/m2 | 1.7
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-06-30 | Ash Content | g/m2 | 2.5
|  | Combustible Matter | g/m2 | 0.8
|  | TOTAL | g/m2 | 3.3

## Jul - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-07-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1 | 4.4 | 2.1667
| Combustable Matter | g/m2 |  | 0.2 | 2.3 | 0.9
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
|  | Ash Content | g/m2 | 1
|  | Combustible Matter | g/m2 | 0.2
|  | TOTAL | g/m2 | 1.2
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
|  | Ash Content | g/m2 | 1.1
|  | Combustible Matter | g/m2 | 0.2
|  | TOTAL | g/m2 | 1.3
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
|  | Ash Content | g/m2 | 4.4
|  | Combustible Matter | g/m2 | 2.3
|  | TOTAL | g/m2 | 6.7

## Aug - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-08-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 3.8 | 13.5 | 7.1333
| Combustable Matter | g/m2 |  | 1 | 1.2 | 1.0667
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-08-31 | Ash Content | g/m2 | 13.5
|  | Combustible Matter | g/m2 | 1.2
|  | TOTAL | g/m2 | 14.7
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-08-31 | Ash Content | g/m2 | 4.1
|  | Combustible Matter | g/m2 | 1
|  | TOTAL | g/m2 | 5.1
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-08-31 | Ash Content | g/m2 | 3.8
|  | Combustible Matter | g/m2 | 1
|  | TOTAL | g/m2 | 4.8

## Sep - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-09-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 2 | 9.5 | 5.0667
| Combustable Matter | g/m2 |  | 0.5 | 1.8 | 1.1667
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-09-30 | Ash Content | g/m2 | 3.7
|  | Combustible Matter | g/m2 | 0.5
|  | TOTAL | g/m2 | 4.2
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-09-30 | Ash Content | g/m2 | 2
|  | Combustible Matter | g/m2 | 1.2
|  | TOTAL | g/m2 | 3.2
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-09-30 | Ash Content | g/m2 | 9.5
|  | Combustible Matter | g/m2 | 1.8
|  | TOTAL | g/m2 | 11.3

## Oct - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-10-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 1 | 10.8 | 4.9667
| Combustable Matter | g/m2 |  | 0.3 | 1.1 | 0.76667
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-10-31 | Ash Content | g/m2 | 10.8
|  | Combustible Matter | g/m2 | 1.1
|  | TOTAL | g/m2 | 11.9
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-10-31 | Ash Content | g/m2 | 1
|  | Combustible Matter | g/m2 | 0.3
|  | TOTAL | g/m2 | 1.3
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-10-31 | Ash Content | g/m2 | 3.1
|  | Combustible Matter | g/m2 | 0.9
|  | TOTAL | g/m2 | 4

## Nov - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-11-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 4.4 | 19 | 12.3
| Combustable Matter | g/m2 |  | 1 | 3.7 | 2.6
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-11-30 | Ash Content | g/m2 | 19
|  | Combustible Matter | g/m2 | 3.7
|  | TOTAL | g/m2 | 22.7
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-11-30 | Ash Content | g/m2 | 4.4
|  | Combustible Matter | g/m2 | 1
|  | TOTAL | g/m2 | 5.4
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-11-30 | Ash Content | g/m2 | 13.5
|  | Combustible Matter | g/m2 | 3.1
|  | TOTAL | g/m2 | 16.6

## Dec - 2018
Mittagong Sands Pty Ltd | [5 empty] | 2018-12-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Dust Monitoring Requirements:
Continuous sampling with results assessed on a monthly basis.
Location of Monitoring Points:
Monitoring Point 1: | Located in the north-western corner of the property on the eastern side of the main road as indicated by DM01 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 2: | Located between the rubbish tip and adjacent the northern haul road as indicated by DM02 on figure 1 Dust Deposition Gauge Location.
Monitoring Point 3: | Located between the wash plant and the main road as indicated by DM03 on figure 1 Dust Deposition Gauge Location.
Summary of Results:
| Particulates | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| Ash Content | g/m2 |  | 2.8 | 17.1 | 7.8
| Combustable Matter | g/m2 |  | 0.6 | 8.2 | 3.6
Individual Results:
Monitoring Point 1: | Sample Date | Particulate | Unit of Measure | Test Result
| 2018-12-31 | Ash Content | g/m2 | 3.5
|  | Combustible Matter | g/m2 | 2
|  | TOTAL | g/m2 | 5.5
Monitoring Point 2: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-12-31 | Ash Content | g/m2 | 2.8
|  | Combustible Matter | g/m2 | 0.6
|  | TOTAL | g/m2 | 3.4
Monitoring Point 3: | Sample Date | Pollutant | Unit of Measure | Test Result
| 2018-12-31 | Ash Content | g/m2 | 17.1
|  | Combustible Matter | g/m2 | 8.2
|  | TOTAL | g/m2 | 25.3