## Monitoring Point Locations
SOUTHERN PIT | NORTHERN PIT

## Jan - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-01-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Feb - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-02-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Mar - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-03-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Apr - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-04-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## May - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-05-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Jun - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-06-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Jul - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-07-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Aug - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-08-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Sep - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-09-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Oct - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-10-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Nov - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-11-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period

## Dec - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-12-01
Cowra Quartz Quarry - Glen Logan Road, Cowra NSW 2794
EPA Licence No: 11420
Water Monitoring Requirements:
Grab sample weekly during any discharge.
Location of Monitoring Points:
Monitoring Point 4: | South discharge point as indicated on figure 2.3 Site Layout - Southern Quarry site map received on 17/12/2009.
Monitoring Point 5: | North discharge point as indicated on figure 2.4 Site Layout - Northern Quarry site map received 17/12/2009.
Summary of Results:
| Pollutant | Unit of Measure |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH |  | - | - | -
| Total Suspended Solids | mg/L |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | Test Result
Monitoring Point 4: | No discharge events during period
Monitoring Point 5: | Sample Date | Pollutant | Unit of Measure | Test Result
No discharge events during period