## Jan - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-01-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Feb - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-02-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Mar - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-03-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | 6.3 | 6.65 | 6.475
| Total Suspended Solids | mg/L | 50 |  | 10 | 13 | 11.5
| Turbidity | NTU | 20 |  | 3.08 | 14.2 | 8.64
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2017-03-17 | pH | pH | 5.5 - 8.5 |  | 6.3 | N
|  | TSS | mg/L | 50 |  | 13 | N
|  | Turbidity | NTU | 20 |  | 14.2 | N
| 2017-03-23 | pH | pH | 5.5 - 8.5 |  | 6.65 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 20 |  | 3.08 | N

## Apr - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-04-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## May - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-05-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jun - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-06-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jul - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-07-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period
Monitoring Point 2:

## Aug - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-08-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Sep - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-09-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Oct - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-10-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Nov - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-11-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Dec - 2017
Mittagong Sands Pty Ltd | [6 empty] | 2017-12-01
Mittagong Quarry - Wombeyan Caves Road, Mittagong NSW 2575
EPA Licence No: 3132
Water Monitoring Requirements:
Grab samples are required to be taken within the first 2 hours following each 5-day consecutive rainfall event and tested for pH,
total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Steel pipe and overflow channel discharge from sediment pond labelled "SFSW-1" on map titled "Figure 5.3 Environmental Monitoring" submitted to the EPA with Licence Information Form dated 11/11/99.
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 5.5 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 20 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period