## Jan - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-01-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.6 | 8.5 | 7.2937
| Total Suspended Solids | mg/L | 50 |  | 10 | 11 | 10.125
| Turbidity | NTU | 50 |  | 1.07 | 12 | 5.6525
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-01-06 | pH | pH | 6 - 8.5 |  | 6.6 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 5 | N
| 2016-01-07 | pH | pH | 6 - 8.5 |  | 6.8 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 9 | N
| 2016-01-08 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 12 | N
| 2016-01-09 | pH | pH | 6 - 8.5 |  | 8.5 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 5.4 | N
| 2016-01-13 | pH | pH | 6 - 8.5 |  | 6.8 | N
|  | TSS | mg/L | 50 |  | 11 | N
|  | Turbidity | NTU | 50 |  | 7 | N
| 2016-01-16 | pH | pH | 6 - 8.5 |  | 7.61 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 1.93 | N
| 2016-01-20 | pH | pH | 6 - 8.5 |  | 7.64 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 1.07 | N
| 2016-01-23 | pH | pH | 6 - 8.5 |  | 7.5 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.82 | N

## Feb - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-02-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7 | 7.3 | 7.1
| Total Suspended Solids | mg/L | 50 |  | 10 | 15 | 12.25
| Turbidity | NTU | 50 |  | 6.22 | 37.7 | 22.715
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-02-02 | pH | pH | 6 - 8.5 |  | 7 | N
|  | TSS | mg/L | 50 |  | 14 | N
|  | Turbidity | NTU | 50 |  | 37.1 | N
| 2016-02-03 | pH | pH | 6 - 8.5 |  | 7.1 | N
|  | TSS | mg/L | 50 |  | 15 | N
|  | Turbidity | NTU | 50 |  | 37.7 | N
| 2016-02-04 | pH | pH | 6 - 8.5 |  | 7.3 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 9.84 | N
| 2016-02-05 | pH | pH | 6 - 8.5 |  | 7 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.22 | N

## Mar - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-03-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.56 | 7.72 | 7.64
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 8.81 | 8.88 | 8.845
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-03-18 | pH | pH | 6 - 8.5 |  | 7.72 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.81 | N
| 2016-03-19 | pH | pH | 6 - 8.5 |  | 7.56 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.88 | N

## Apr - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-04-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## May - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-05-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Jun - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-06-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.9 | 7.86 | 7.3867
| Total Suspended Solids | mg/L | 50 |  | 9.52 | 12 | 10.2533
| Turbidity | NTU | 50 |  | 3.99 | 41 | 16.2083
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-06-03 | pH | pH | 6 - 8.5 |  | 7.76 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.99 | N
| 2016-06-08 | pH | pH | 6 - 8.5 |  | 7.86 | N
|  | TSS | mg/L | 50 |  | 9.52 | N
|  | Turbidity | NTU | 50 |  | 41 | N
| 2016-06-09 | pH | pH | 6 - 8.5 |  | 7.52 | N
|  | TSS | mg/L | 50 |  | 12 | N
|  | Turbidity | NTU | 50 |  | 16.8 | N
| 2016-06-10 | pH | pH | 6 - 8.5 |  | 6.91 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 15 | N
| 2016-06-11 | pH | pH | 6 - 8.5 |  | 6.9 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 13.8 | N
| 2016-06-23 | pH | pH | 6 - 8.5 |  | 7.37 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.66 | N

## Jul - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-07-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.89 | 7.45 | 7.21
| Total Suspended Solids | mg/L | 50 |  | 10 | 12 | 10.6667
| Turbidity | NTU | 50 |  | 8.33 | 10.8 | 9.6167
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-07-09 | pH | pH | 6 - 8.5 |  | 7.29 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 9.72 | N
| 2016-07-14 | pH | pH | 6 - 8.5 |  | 7.45 | N
|  | TSS | mg/L | 50 |  | 12 | N
|  | Turbidity | NTU | 50 |  | 8.33 | N
| 2016-07-22 | pH | pH | 6 - 8.5 |  | 6.89 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 10.8 | N
Monitoring Point 2:

## Aug - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-08-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 6.98 | 8.13 | 7.45
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 3.69 | 14.5 | 7.3087
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-08-05 | pH | pH | 6 - 8.5 |  | 6.98 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 7.93 | N
| 2016-08-06 | pH | pH | 6 - 8.5 |  | 7.42 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6 | N
| 2016-08-09 | pH | pH | 6 - 8.5 |  | 7.31 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.98 | N
| 2016-08-23 | pH | pH | 6 - 8.5 |  | 8.13 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 14.5 | N
| 2016-08-26 | pH | pH | 6 - 8.5 |  | 7.27 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.79 | N
| 2016-08-27 | pH | pH | 6 - 8.5 |  | 7.49 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 4.48 | N
| 2016-08-28 | pH | pH | 6 - 8.5 |  | 7.51 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.1 | N
| 2016-08-30 | pH | pH | 6 - 8.5 |  | 7.49 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 3.69 | N

## Sep - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-09-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | 7.16 | 7.23 | 7.195
| Total Suspended Solids | mg/L | 50 |  | 10 | 10 | 10
| Turbidity | NTU | 50 |  | 6.39 | 8.36 | 7.375
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | 2016-09-03 | pH | pH | 6 - 8.5 |  | 7.16 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 6.39 | N
| 2016-09-05 | pH | pH | 6 - 8.5 |  | 7.23 | N
|  | TSS | mg/L | 50 |  | 10 | N
|  | Turbidity | NTU | 50 |  | 8.36 | N

## Oct - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-10-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Nov - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-11-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period

## Dec - 2016
Benedict Industries Pty Ltd | [6 empty] | 2016-12-01
Sandy Point Quarry - Heathcote Road, Sandy Point NSW 2171
EPA Licence No: 1924
Monitoring Requirements:
Grab samples are required to be taken daily during any discharge and tested for pH, total suspended solids and turbidity.
Location of Monitoring Points:
Monitoring Point 1: | Below Basin 3 as identified in map attached to the "Sandy Point Quarry Sediment Controls and Protocols Update December 2013."
Summary of Results:
Monitoring Point 1: | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Lowest sample value | Highest sample value | Mean of samples
| pH | pH | 6 - 8.5 |  | - | - | -
| Total Suspended Solids | mg/L | 50 |  | - | - | -
| Turbidity | NTU | 50 |  | - | - | -
Individual Results:
| Sample Date | Pollutant | Unit of Measure | 100 Percentile Concentration Limit |  | Test Result | Exceedance (Y/N)
Monitoring Point 1: | No discharge events during period